# August 22, 2003

## CATS UPS System

### Preliminary Budget

120KVA UPS w/ 5 min battery and Maintenance By-pass Switch             $75,000

300KVA natural gas generator w/ Catalytic Muffler	 		          $77,000

150KVA transformer	K-13						          $12,000

600a 4P Transformer Switch						          $12,000

480v panel									$3,500

208v panel									$3,000

# Motor control									$6,500

# Feeders								          $19,000

Connections								          $25,000

Fire Alarm additions and programming					$6,000

Electrical Total                                                                               $239,000

Mechanical								        $135,000

# Architectural									$7000

Pad and Retaining wall                                                                                $50,000

Project total	w/o new Data room units              $431,000

#### New Data Room coolers

# Electrical       								           $5,000

# Mechanical								       $185,000

Data Room coolers total			       $190,000

Project total                                                            $621,000