## Master Sheet
| 27 06 00 | Master Sheet
UCSC Master Pre-Approved Product/Material/Manufacturer List Index
Important Notes
| Does Yellow | 1. SUBMITTALS REQUIRED - See specifications, Section 27 00 00, PART 1 - GENERAL, SUBMITTALS. 2. Any submittal of an "or equal" product must contain the product manufacturer's performance specifications cut sheet for that product. 3. Items not showing manufacturer and part # shall be furnished by the SCS Contractor with submittal approval by CTS Project Manager. 4. Not all items listed are necessarily required for this project 5. If Line #s appear not to be sequential, those items have been removed since they are not required for this project.
heading apply
to UCSC
Line # | Division 27 Section Number | Product/ Material Category | Manufacturer | Part # |  | Description
1 | 27 05 26 | Bonding | Cooper B-Line | SB47902 | Or Equal | Two-hole compression lugs
2 | 27 05 26 | Bonding |  |  | Or Equal | 6 AWG, green insulation, bonding wire
3 | 27 05 26 | Bonding | Panduit | LTYK | Or Equal | J-STD-607-A Compliant Bonding Tag
4 | 27 05 26 | Bonding | Cooper B-Line | SB6693/4X101/2 | Or Equal | Grounding Strap
5 | 27 05 29 | Pathway | Cooper B-Line | BCHR64 | Or Equal | 4" J-Hook
6 | 27 05 29 | Pathway | Cooper B-Line | BCHR32 | Or Equal | 2" J-Hook
7 | 27 05 29 | Pathway | Cooper B-Line | BCHR21 | Or Equal | 1" J-Hook
8 | 27 05 29 | Pathway | Panduit | LD-3 | Or Equal | Surface Mount raceway
9 | 27 05 29 | Pathway | Panduit | LD-5 | Or Equal | Surface Mount raceway
10 | 27 05 29 | Pathway | Panduit | LD-10 | Or Equal | Surface Mount raceway
11 | 27 05 29 | Pathway | Panduit | T-70 | Or Equal | Surface Mount raceway
12 | 27 05 29 | Pathway |  |  | Or Equal | 4 11/16 x 4 11/16 x 2.75" d Box with 1 gang mud ring
4 | 27 05 26 | Bonding | Corning | Corning UCN-GNDS20 |  | Ground Clamp
4 | 27 05 26 | Bonding | Corning | Corning UCN-GNDCBL-20 |  | Ground Strap
49 | 27 05 26 | Fiber | Corning | Ground-Kit-2 | Or Equal | Fiber Grounding Kit
13 | 27 05 41 | Fire Stop | 3M | MP+ | Or Equal | Fire stop putty
14 | 27 05 41 | Fire Stop |  |  | Or Equal | Mineral wool
15 | 27 05 41 | Fire Stop | STI | FS100 | Or Equal | 1" Ready Sleeve
16 | 27 05 41 | Fire Stop | STI | FS200 | Or Equal | 2" Ready Sleeve
17 | 27 05 41 | Fire Stop | STI | FS400 | Or Equal | 4" Ready Sleeve
18 | 27 05 41 | Fire Stop | STI | FP200 | Or Equal | 2" Intumescent Firestop Plug
19 | 27 05 41 | Fire Stop | STI | FP400 | Or Equal | 4" Intumescent Firestop Plug
20 | 27 11 00 | Telecom Room | Cooper B-Line | SB17U12BFB | Or Equal | 12" Cable Runway
21 | 27 11 00 | Telecom Room | Cooper B-Line | SB168CBZ | Or Equal | Heavy Duty Butt Splice
22 | 27 11 00 | Telecom Room | Cooper B-Line | SB21312KFB | Or Equal | Triangular Runway Wall Support Kit
23 | 27 11 00 | Telecom Room | Cooper B-Line | SB165BZ | Or Equal | Runway 90 degree junction Splice Clamp and Kit
24 | 27 11 00 | Telecom Room | Cooper B-Line | SB211312FB | Or Equal | Runway Wall Angle Support Kit
25 | 27 11 00 | Telecom Room | Cooper B-Line | SB227E3FB | Or Equal | Runway Stand-Off Kit
26 | 27 11 00 | Telecom Room | Cooper B-Line | SB212712AFB | Or Equal | Runway Center Support hanger Kit
27 | 27 11 00 | Telecom Room | Chatsworth | 15275-01 | Or Equal | Waterfall upper tray
28 | 27 11 00 | Telecom Room | Panduit | MP1E | Or Equal | 2 RU Horizontal Cable manager
29 | 27 11 00 | Telecom Room |  |  | Or Equal
30 | 27 11 00 | Telecom Room | Chatsworth | 11729-703 | Or Equal | 7' Vertical Cable Manager, black
31 | 27 11 00 | Telecom Room |  |  | Or Equal
32 | 27 11 00 | Telecom Room | Chatsworth | 40098-703 | Or Equal | 7' 6" Vertical Cable Manager
33 | 27 11 00 | Telecom Room | Chatsworth | 40099-703 | Or Equal | 7' 10" Vertical Cable Manager
34 | 27 11 13 | Telecom Room |  |  | Or Equal | One-hundred (100) pair BET technology
35 | 27 11 13 | Telecom Room |  |  | Or Equal | 5 pin, solid-state technology protectors
36 | 27 11 16 | Telecom Room | Cooper B-Line | SB85219084FB | Or Equal | 2-Post 19" seismic relay rack, black
37 | 27 11 16 | Telecom Room | Cooper B-Line | SB837084AFB | Or Equal | 7' Adjustable Rack
38 | 27 11 19 | Telecom Room | Belden | A0340836 | Or Equal | 300 Pair Bix Field
39 | 27 11 19 | Telecom Room | Belden | A0266828 | Or Equal | 5 pair Bix Strip
40 | 27 11 19 | Telecom Room | Belden | A0393146 | Or Equal | 4 Pair Bix Strip
41 | 27 11 19 | Telecom Room | Amp | 1499601-2 | Or Equal | 48 port Angled patch panel
42 | 27 11 19 | Fiber | Aria | TRI-0-0-0-0-0-B | Or Equal | Wall Mount FDC
| 27 11 19 | Fiber | Corning | 096EUC-T4101D20 96-F | Or Equal | Altos Lite OSP Gel-Free 8.3/125 OS2 LT Direct Burial
| 27 11 19 | Fiber | Corning | 144EWF-T4101DA1 | Or Equal | FREEDM I/O 144-f SM armored fiber cable
| 27 11 19 | Fiber | Corning | 024ESF-T4101D20 | Or Equal | FREEDM I/O 24-f SM riser cable
| 27 11 19 | Fiber | Corning |  | Or Equal | 12-F LC 6-meter OS2 fiber pigtails for fusion splicing
44 | 27 11 19 | Fiber | Aria | 209-72CR-W | Or Equal | Splice Tray
| 27 11 19 | Fiber | Corning | PCH-01U | Or Equal | 1U Fiber Termination Housing
| 27 11 19 | Fiber | Corning | PCH-02U | Or Equal | 2U Fiber Termination Housing
| 27 11 19 | Fiber | Corning | PCH-04U | Or Equal | 4U Fiber Termination Housing
| 27 11 19 | Fiber | Corning | WSH-11SPT-F | Or Equal | Wall-mount fiber splice housing
| 27 11 19 | Fiber | Corning | PC1-SPLC-04R | Or Equal | Splice Tray Bracket for PCH-01U
| 27 11 19 | Fiber | Corning | PC2-SPLC-6SR | Or Equal | Splice Tray Bracket for PCH-02U
45 | 27 11 19 | Fiber | Corning | PC4-SPLC-12SR | Or Equal | Splice Tray Bracket for PCH-04U
46 | 27 11 19 | Fiber | Corning | 2806031-01 | Or Equal | Heat Shrink Sleeve 50-pack
47 | 27 11 19 | Fiber | Corning |  | Or Equal
48 | 27 11 19 | Fiber | Corning | M76-048 | Or Equal | Splice Tray for PCH Housings
| 27 11 19 | Fiber | Corning | M76-076 | Or Equal | Splice Tray for WSH-11SPT-F
49 | 27 11 19 | Fiber | Corning | Ground-Kit-2 | Or Equal | Fiber Grounding Kit
50 | 27 11 19 | Fiber | Aria | BRFFAQ125-00 LC-0STI-18NBO | Or Equal | 12 strand LC MM Ribbon Pigtail
51 | 27 13 00 | Cable | Mohawk | M55700 | Or Equal | CAT 3 25 pair OSP Cable
52 | 27 13 00 | Cable | Mohawk | M55211 | Or Equal | CAT 3 100 pair OSP Cable
53 | 27 13 00 | Cable | Mohawk | M57098 | Or Equal | CAT 3 300 pair OSP Cable
| 27 11 19 | Fiber | Corning | CCH-CP12-A9 | Or Equal | Connector Panel with 6 Duplex LC Adapters - Single Mode
54 | 27 13 00 | Cable | Mohawk | M56801 | Or Equal | CAT 3 25 pair Plenum Cable
55 | 27 13 00 | Cable | Mohawk | M56126 | Or Equal | CAT 3 50 pair Plenum Cable
56 | 27 13 00 | Cable | Mohawk | M56128 | Or Equal | CAT 3 100 pair Plenum Cable
57 | 27 13 00 | Cable | Mohawk | M57211 | Or Equal | CAT 3 300 pair Plenum Cable
58 | 27 13 00 | Cable | Mohawk | M9W644 | Or Equal | 12 Strand Single Mode Ribbon Fiber(Plenum)
59 | 27 13 00 | Cable | Mohawk | M9E644 | Or Equal | 12 Strand Multi Mode Ribbon Fiber(OM3+Plenum)
60 | 27 13 00 | Cable |  |  | Or Equal | 1.25" Innerduct (Plenum rated)
61 | 27 13 00 | Telcom Rm | Preformed Line | 8000625 | Or Equal | Splice Case
62 | 27 15 13 | Cable | Mohawk | M58281 | Or Equal | CAT 6 Blue Plenum Cable
63 | 27 15 43 | Faceplates | Amp | 1FM-OE-AMP-PHONE | Or Equal | Wall Phone Faceplate with RJ-11 Jack
64 | 27 15 43 | Faceplates | Amp | 557505-3 | Or Equal | 2 Port Plastic Faceplate
65 | 27 15 43 | Faceplates | Amp | 558088-4 | Or Equal | 4 Port Plastic Faceplate
66 | 27 15 43 | Faceplates | Amp | 557691-4 | Or Equal | 6 Port Plastic Faceplate
67 | 27 15 43 | Faceplates | Amp | 1FM-(4)OE-AMP-LAB | Or Equal | 2 Port Stainless Steel Faceplate
68 | 27 15 43 |  |  |  | Or Equal
69 | 27 15 43 | Faceplates | Semtron | 68338 | Or Equal | Voice Data Stainless Steal Custom faceplate
70 | 27 15 43 |  |  |  | Or Equal
71 | 27 15 43 |  |  |  | Or Equal
72 | 27 15 43 |  |  |  | Or Equal
73 | 27 15 43 |  |  |  | Or Equal
74 | 27 15 43 |  |  |  | Or Equal
75 | 27 15 43 | Jack | Amp | 1375055-3 | Or Equal | Sl Series CAT 6 T-568B White Jack
76 | 27 15 43 | Jack | Amp | 1375055-3 | Or Equal | Sl Series CAT 6 T-568B Blue Jack
77 | 27 32 23
78 | 27 15 43 | Elevator Phone | Ceeco | SSP-571-X-ADA | No Equal | Ceeco emergency telephone
Note on F7: ITS: Or approved equal. Say this in notes as well
Note on G7: ITS:We will want enough detail to let the contractor pick an exact equal.